## Sheet1
Northwestern
FACILITIES
013513 ASSET TAGGING CHECKLIST
If any of the following assets are included on a project as new equipment, a new asset tag is to be assigned and the New Equipment Template populated with the relevant data.
| Include | Excluded | Notes
Building Components
Building Components - Clock System | x
Building Components - Compactor - Cardboard | x
Building Components - Compactor - Trash | x
Building Components - Damper
Building Components - Damper - Fire | x |  | Accurate/legible drawings required. Tagged on grid below asset or on access panel.
Building Components - Damper - Fire + Smoke | x |  | Accurate/legible drawings required
Building Components - Damper - Smoke | x |  | Accurate/legible drawings required
Building Components - Dock Leveler | x
Building Components - Door - tagged on door frame
Building Components - Door - Automatic | x
Building Components - Door - Overhead | x
Building Components - Door - Rated - Access Hatch | x |  | Accurate/legible drawings required
Building Components - Door - Rated - Chute - Linen | x |  | Accurate/legible drawings required
Building Components - Door - Rated - Chute - Trash | x |  | Accurate/legible drawings required
Building Components - Door - Rated - Fire | x |  | Accurate/legible drawings required
Building Components - Door - Rated - Smoke | x |  | Accurate/legible drawings required
Building Components - Elevator
Building Components - Elevator - Dumbwaiter | x |  | Capture State ID #
Building Components - Elevator - Freight | x |  | Capture State ID #
Building Components - Elevator - Passenger | x |  | Capture State ID #
Building Components - Wall
Building Components - Wall - Fire | x
Building Components - Wall - Fire + Smoke | x
Building Components - Wall - Horizontal Barrier | x
Building Components - Wall - Smoke | x
Building Components - Wall - Smoke Partition | x
Compression & Vacuum Systems
Compression & Vacuum Systems - Air Compressor
Compression & Vacuum Systems - Air Compressor - Control Air | x
Compression & Vacuum Systems - Air Compressor - Dry System | x
Compression & Vacuum Systems - Air Dryer | x
Dietary Equipment
Dietary Equipment - Broilers |  | x
Dietary Equipment - Coffee Maker |  | x
Dietary Equipment - Deep Fat Fryer
Dietary Equipment - Deep Fat Fryer - Electric |  | x
Dietary Equipment - Deep Fat Fryer - Gas |  | x
Dietary Equipment - Dishwasher |  | x
Dietary Equipment - Mixer |  | x
Dietary Equipment - Food Cart |  | x
Dietary Equipment - Food Mixer |  | x
Dietary Equipment - Food Processor / Blender |  | x
Dietary Equipment - Food / Meat Slicer |  | x
Dietary Equipment - Grill/Griddle
Dietary Equipment - Grill / Griddle - Electric |  | x
Dietary Equipment - Grill / Griddle - Gas |  | x
Dietary Equipment - Hot Box |  | x
Dietary Equipment - Hot Serving Table
Dietary Equipment - Hot Serving Table - Electric |  | x
Dietary Equipment - Hot Serving Table - Steam |  | x
Dietary Equipment - Ice Cream Maker |  | x
Dietary Equipment - Microwave Oven |  | x
Dietary Equipment - Plate Warmer and Dispenser |  | x
Dietary Equipment - Pulper |  | x
Dietary Equipment - Proofer |  | x
Dietary Equipment - Range / Oven
Dietary Equipment - Range / Oven - Electric |  | x
Dietary Equipment - Range / Oven - Gas |  | x
Dietary Equipment - Skillet |  | x
Dietary Equipment - Steam Kettle |  | x
Dietary Equipment - Steamer |  | x
Dietary Equipment - Toaster |  | x
Dietary Equipment - Toaster - Conveyor |  | x
Dietary Equipment - Tray Conveyor |  | x
Dietary Equipment - Warming Tray |  | x
Electrical System Equipment
Electrical System Equipment - Automatic Transfer Switch
Electrical System Equipment - Automatic Transfer Switch - Critical | x
Electrical System Equipment - Automatic Transfer Switch - Elevator | x
Electrical System Equipment - Automatic Transfer Switch - Emergency | x
Electrical System Equipment - Automatic Transfer Switch - Equipment | x
Electrical System Equipment - Automatic Transfer Switch - Fire Pump | x
Electrical System Equipment - Automatic Transfer Switch - Life Safety | x
Electrical System Equipment - Battery Charger | x
Electrical System Equipment - Generator - Emergency
Electrical System Equipment - Generator - Emergency | x
Electrical System Equipment - Emergency Generator - Diesel | x
Electrical System Equipment - Emergency Generator - Natural Gas | x
Electrical System Equipment - Emergency Generator - Dual Fuel | x
Electrical System Equipment - Generator Non-Emergency | x
Electrical System Equipment - Lights
Electrical System Equipment - Lights - Egress | x
Electrical System Equipment - Lights - Egress - Battery | x
Electrical System Equipment - Lights - Exit | x
Electrical System Equipment - Lights - Exit - Battery | x
Electrical System Equipment - Lights - Exit + Egress Combo | x
Electrical System Equipment - Lights - Exit + Egress Combo - Battery | x
Electrical System Equipment - Main Feed | x
Electrical System Equipment - Motor Control Center | x
Electrical System Equipment - Motor Control Center - Emergency | x
Electrical System Equipment - Panel
Electrical System Equipment - Panel - Breaker | x
Electrical System Equipment - Panel - Breaker - Emergency | x
Electrical System Equipment - Panel - Distribution | x
Electrical System Equipment - Panel - Distribution - Emergency | x
Electrical System Equipment - Panel - Isolation | x
Electrical System Equipment - Receptacle |  | x
Electrical System Equipment - Switchgear / Switchboard | x
Electrical System Equipment - Switchgear / Switchboard - Emergency | x
Electrical System Equipment - Transformer
Electrical System Equipment - Transformer - Dry | x
Electrical System Equipment - Transformer - Dry - Emergency | x
Electrical System Equipment - Transformer - Oil | x
Electrical System Equipment - Transformer - Oil - Emergency | x
Electrical System Equipment - Uninterruptable Power Supply (UPS) | x
Electrical System Equipment - Variable Frequency Drive | x
Fire Safety Equipment .
Fire Safety Equipment - Alarm System
Fire Safety Equipment - Alarm System - Annunciator
Fire Safety Equipment - Alarm System - Annunciator - Audio Visual |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Annunciator - Bell Audible |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Annunciator - Chime Audible Device |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Annunciator - Horn Audible Device |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Annunciator - Speaker Audible Device |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Annunciator - Visual Only Device |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Duct Detector |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Electromechanical Releasing Devices |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Firefighter Phone |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Flow Switch |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Heat Detector |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Heat Detector - ISD |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Master Panel |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Alarm Notification Device |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Phone Jack |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Pull Station |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Control Panel - Main |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Control Panel - Remote |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Smoke Detector |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Supervisory Signal Device |  | x | Supplied From NU
Fire Safety Equipment - Alarm System - Tamper Switch |  | x | Supplied From NU
Fire Safety Equipment - Fire Extinguisher |  | x | Supplied From NU
Fire Safety Equipment - Fire Extinguisher Location |  | x | Supplied From NU
Fire Safety Equipment - Fire Hose |  | x | Supplied From NU
Fire Safety Equipment - Fire Suppression
Fire Safety Equipment - Fire Suppression - CO2 |  | x | Supplied From NU
Fire Safety Equipment - Fire Suppression - FM200 |  | x | Supplied From NU
Fire Safety Equipment - Fire Suppression - Halon |  | x | Supplied From NU
Fire Safety Equipment - Fire Suppression - Helipad Systems |  | x | Supplied From NU
Fire Safety Equipment - Fire Suppression - Wet Chemical |  | x | Supplied From NU
Fire Safety Equipment - Sprinkler System
Fire Safety Equipment - Sprinkler System - Fire Control Valve |  | x | Supplied From NU
Fire Safety Equipment - Sprinkler System - Fire Dept. Connection |  | x | Supplied From NU
Fire Safety Equipment - Sprinkler System - Fire Hose Rack and Cabinet |  | x | Supplied From NU
Fire Safety Equipment - Sprinkler System - Fire Pump Control Panel |  | x | Supplied From NU
Fire Safety Equipment - Sprinkler System - Main - Dry |  | x | Supplied From NU
Fire Safety Equipment - Sprinkler System - Main - Preaction |  | x | Supplied From NU
Fire Safety Equipment - Sprinkler System - Main - Wet |  | x | Supplied From NU
Fire Safety Equipment - Sprinkler System - Main Drain |  | x | Supplied From NU
Fire Safety Equipment - Sprinkler System - Standpipe |  | x | Supplied From NU
HVAC Equipment
HVAC Equipment - AC Unit
HVAC Equipment - AC Unit - Packaged Unit | x
HVAC Equipment - AC Unit - Portable | x
HVAC Equipment - AC Unit - PTAC | x
HVAC Equipment - AC Unit - Split System | x
HVAC Equipment - AC Unit - Split System - Condenser | x
HVAC Equipment - AC Unit - Split System - Evaporator | x
HVAC Equipment - AC Unit - Window Unit | x
HVAC Equipment - Air Handling Unit
HVAC Equipment - Air Handling Unit - Heat Pump | x
HVAC Equipment - Air Handling Unit - Indoor Unit | x
HVAC Equipment - Air Handling Unit - Make-up Air Unit | x
HVAC Equipment - Air Handling Unit - Roof Top Unit | x
HVAC Equipment - Air Handling Unit - Constant Air Volume Box | x * |  | * If motor OR filter is present. Tagged on the access panel or the ceiling grid as close to directly below the damper & ID’s from the asset, if not available, taken from drawings.
HVAC Equipment - Air Handling Unit - Variable Air Volume Box | x * |  | * If motor OR filter is present. Accurate/legible drawings required. Tagged on thermostat.
HVAC Equipment - Boiler
HVAC Equipment - Boiler - Coal | x
HVAC Equipment - Boiler - Dual Fuel | x
HVAC Equipment - Boiler - Gas | x
HVAC Equipment - Boiler - Oil | x
HVAC Equipment - Chiller
HVAC Equipment - Chiller - Absorption Liquid Chiller | x
HVAC Equipment - Chiller - Centrifugal Liquid Cooled Chiller | x
HVAC Equipment - Chiller-Helical Rotary HVAC Liquid Chiller | x
HVAC Equipment - Chiller-Modular Air-Cooled Liquid Chiller | x
HVAC Equipment - Chiller-Scroll Air-Cooled Chiller | x
HVAC Equipment - Cooling Tower | x
HVAC Equipment - Deaerator | x
HVAC Equipment - Fan
HVAC Equipment - Fan - Air Curtain | x
HVAC Equipment - Fan - Exhaust | x
HVAC Equipment - Fan - Exhaust - Bio Hazard (Isolation) | x
HVAC Equipment - Fan - Return | x
HVAC Equipment - Fan - Smoke Evacuation | x
HVAC Equipment - Fan - Stairwell Pressurization | x
HVAC Equipment - Fan - Supply | x
HVAC Equipment - Fancoil Unit | x * |  | * If motor OR filter is present
HVAC Equipment - Furnace
HVAC Equipment - Furnace - Electric | x
HVAC Equipment - Furnace - Gas | x
HVAC Equipment - Hood - Biohazard | x
HVAC Equipment - Hood - Fume | x
HVAC Equipment - Hood - Kitchen | x
HVAC Equipment - Hood - Laminar Flow | x
HVAC Equipment - Steam Trap |  | x
HVAC Equipment - Unit Heater
HVAC Equipment - Unit Heater - Electric | x
HVAC Equipment - Unit Heater - Gas | x
HVAC Equipment - Unit Heater - Hot Water | x
HVAC Equipment - Unit Heater - Steam | x
Housekeeping Equipment
Housekeeping Equipment - Clothes Dryer |  | x
Housekeeping Equipment - Clothes Washer |  | x
Plumbing Systems
Plumbing - Backflow Preventer | x
Plumbing - Dehumidifier | x
Plumbing - DI Water | x
Plumbing - Filter | x
Plumbing - Filter - Cartridge |  | x
Plumbing - Filter - Sand |  | x
Plumbing - Filter - UV | x
Plumbing - Garbage Disposal |  | x
Plumbing - Heat Exchanger | x
Plumbing - Humidifier | x
Plumbing - Snow Melt System | x
Plumbing - Strainer | x
Plumbing - Steam Station | x
Plumbing - Trap
Plumbing - Trap - Grease | x
Plumbing - Trap - Plaster | x
Plumbing - Trap Primer | x
Plumbing - Valve | x
Plumbing - Waste Water Treatment |  | x
Plumbing - Water Heater - Tank - Electric | x
Plumbing - Water Heater - Tank - Natural Gas | x
Plumbing - Water Heater - Instant - Electric | x
Plumbing - Water Heater - Instant - Steam | x
Plumbing - Water Purification - RO | x
Plumbing - Water Purification - DI | x
Plumbing - Water Softener | x
Plumbing - Seperator | x
Pumps
Pump - Boiler Feed Water | x
Pump - Booster | x
Pump - Chemical Feed | x
Pump - Chilled Water | x
Pump - Condenser Water | x
Pump - Condensate | x
Pump - Condensate - Pressure Powered | x
Pump - Domestic Water
Pump - Domestic Water - Cold | x
Pump - Domestic Water - Hot | x
Pump - Fire Pump - Jockey | x
Pump - Fire Pump - Main | x
Pump - Fountain Display | x
Pump - Fuel Oil | x
Pump - Glycol | x
Pump - Heating Hot Water | x
Pump - Pool | x
Pump - Recirculating | x
Pump - Sealed | x
Pump - Sewage Ejector | x
Pump - Storm Water Ejector | x
Pump - Sump | x
Refrigeration Equipment
Refrigeration - Condenser / Compressor | x
Refrigeration - Freezer
Refrigeration - Freezer - Chest |  | x
Refrigeration - Freezer - Dietary |  | x
Refrigeration - Freezer - Lab / Pharmacy |  | x
Refrigeration - Freezer - Reach-In |  | x
Refrigeration - Freezer - Walk-In | x
Refrigeration - Ice Machine
Refrigeration - Ice Machine - Bin Style | x
Refrigeration - Ice Machine - Dispenser |  | x
Refrigeration - Refrigerator
Refrigeration - Refrigerator - Chest |  | x
Refrigeration - Refrigerator - Reach-In |  | x
Refrigeration - Refrigerator - Walk-In | x
Refrigeration - Drinking Fountain | x
Safety Equipment
Safety Equipment - Decontamination Shower | x
Safety Equipment - Emergency Shower | x
Safety Equipment - Eyewash | x
Safety Equipment - Eyewash - Non-Plumbed | x
Safety Equipment - Eyewash + Shower Combo | x
Tanks
Tanks - Expansion | x
Tanks - Fuel Oil
Tanks - Fuel Oil - Above Ground | x
Tanks - Fuel Oil - Day Tank | x
Tanks - Fuel Oil - Underground | x
Tanks - Bulk Storage | x
Tanks - Water Storage | x
Security Management Equipment
Security Management Equipment - Access Control System | x
Security Management Equipment - Delayed Egress System | x
Security Management Equipment - Alarm |  | x
Security Management Equipment - Panic Button |  | x
Security Management Equipment - Closed Circuit |  | x
Security Management Equipment - Video Monitoring System |  | x
Miscellaneous